2509 W. Iles, Ste. 102, Springfield, IL  62704

Phone: (217) 726-7980  Fax: (217) 726-7989

ABRET EEG LABORATORY ACCREDITATION APPLICATION

| Date: |
| --- |
| Hospital/Institution: |
| Laboratory Name: |
| Address: (Include Mail Code) |
| City: | State: | Zip: |
| Name/Title Person Completing This Form: |  |
| Phone: | Fax: |
| Email: |
| Medical Director and Address: |
| Administrator/Title and Address: |

Number of EEGs per year, performed by your lab (approximately)  ________________

Check the procedures performed in your lab:

Routine EEG	            Pediatric             Neonatal            Bedside             Sleep Deprived

ECI                    Other_______________________________

Please follow instruction on page 2.

Submit this completed form required documentation to:

| ABRET Executive Office 2509 W. Iles Ave., Suite 102 Springfield, IL 62704 abreteo@att.net | This Space for ABRET Use ( Date Application & Fee Received ( Records Requested ( Materials Received ( Acc Fee Reviewers: |
| --- | --- |

ABRET EEG Laboratory Accreditation

General Information

The Laboratory Accreditation Board of ABRET (LAB-EEG) is a separate board functioning under ABRET, Inc., a not-for-profit, 501 c6 corporation.

Any laboratory performing clinical EEGs interpreted by a licensed physician (M.D. or D.O.) may apply for accreditation.

At least one of the staff technologists must be an R. EEG T. or Canadian RET.

LAB of ABRET requires a formal review of laboratory output, Policies & Procedures.

The EEG interpretation (professional component) will not be evaluated.

Submitted records will be returned after the process is complete.

A site visit will not be conducted.

Accreditation will be for 5 years.

A list of LAB of ABRET accredited EEG laboratories will be published.

Successful laboratories will receive a framed certificate and a press kit.

Unsuccessful labs may reapply in one year.

Process Check List

I.	Submit Application and the following supporting documentation

(	Copy of the Medical Director’s state medical license

( 	A list of all staff technologists

( 	Credential status and registry number(s) of staff technologists and

(  	List of staff continuing education activities in the last 12 months

(	Application fee ($75) payable to ABRET

II.	Once the application has been accepted, the lab will be asked to submit:

A.	Two copies of ONLY the required Policies from your Policy & Procedure Manual (P&P); on CD

(	Table of Contents, including page numbers

(	Staffing Policies for technical personnel (Job Descriptions/Competencies)

(	Infection Control

(	Electrical Safety

(	Quality Improvement

(	Continuing Education Requirements for Technologists

B.	Testing Procedures for each of the following performed:

(	Routine EEG

(	Pediatric EEG

(	Neonatal EEG

(	Bedside EEG

(	Sleep Deprived EEG

(	EEG for Determination for Electrocerebral Inactivity

C.	Five complete EEGs (no LTM or ambulatory studies)

( 	Three EEGs selected by the applicant lab identified as normal, focal, and generalized

(	Two randomly selected by LAB-EEG by date, identified as LAB-selected

If sending a CD, please send two copies.  Include the equipment manufacturer,

reading software information with the CD, and information on how to view impedances.

D.	(	A check for $950 payable to ABRET

Requirements for EEGs

One recording must be normal, one must have a focal abnormality and one must have a generalized abnormality (no LTM or Intraoperative recordings).

Different technologists should have recorded the three applicant-selected records.  If there are only two technologists in the lab, one may have performed two of the three recordings.

Records should be submitted ‘as recorded’.  A reformatted recording is not acceptable.

See list of technical requirements for records.

Patient identifying information should be removed.  If it cannot be removed, a Business Associate Agreement should be completed to satisfy HIPAA.

Data will only be used for evaluation.  Every effort will be made to return the data to the applying la within eight weeks.

Records should be submitted on CD with reading software.  If reading software is not available, then the EEGs should be printed out.

EXPECTED TECHNICAL STANDARDS FOR RECORDS

- All recordings must be interpretable.

- All submitted records must have been recorded within twelve months of the application.

- Every record must contain a minimum of sixteen channels of EEG.

- All inter-electrode impedances (not greater than 5000 ohms) must be documented. Pediatric impedances <10, 000 ohms.

- Required documentation: Patient Age, Date, Tech Name or ID.  A unique procedure or log number should be included.

- Required documentation:  Time of Recording, Time and Date of Last Symptom or Event, Behavioral State of Patient, Medication, Summary of Relevant Medical History.  Records must not contain any patient information beyond the required documentation.  If all other patient information cannot be removed, a Business Associate Agreement should be entered into with the hospital.  A model agreement is available upon request.

- If meaningful square wave calibration or bio-calibration is not available, ideally the first 30 seconds of recording should be observed by the technologist from the primary system reference montage.

- Scalp recording standards: 
Sensitivity of 5-10 µv/mm is required, and should be adjusted as needed.
Low frequency filter not greater than 1 Hz (time constant of .16 seconds) is required, and adjusted as needed.
High frequency filter 70 Hz is required, and adjusted as needed.
Digital display (paper) speed of 30mm/sec or a digital display of 10 seconds/page is required.
The 60 Hz notch filter should be used appropriately, and not defaulted to “on”.

- Any artifacts should be corrected or monitored, as necessary.

- A minimum of 20 minutes of artifact-free EEG activity, not including calibrations, is required.

- At least one longitudinal and one transverse bipolar, and one referential montage must be recorded.

- The montages must be complete and appropriate to demonstrate abnormality.

- There should be at least one period of eye opening/eye closure.

- Hyperventilation should be performed and acceptable with effort noted, or contraindicated.

- Photic stimulation should be performed and acceptable, or contraindicated.

- Adequate sleep recording should be obtained, attempted, or not needed.  At least one submitted record must contain stage two (n2) sleep.

- Visual, auditory, or somatosensory stimulation should be used and documented, as appropriate.

- Digital display speed (paper speed), sensitivity, filters, and montages must be clearly identified on the record and at times of change.

- The patient’s state and/or level of consciousness (awake, drowsy, sleep, comatose, etc.) and any changes should be clearly noted on record.

- Complete descriptions of patient events, movements, and tech instructions should be clearly noted on the record at the time of occurrence.

- Clear documentation of patient’s maximal level of alertness must take place at some time during recording.

- Records must be recorded continuously without deletion of pages or demonstrate a continuous time and montage sequence as recorded.  Recording on one montage and submitting a reformatted recording is not acceptable.

- Before submitting data, verify it is viewable on a generic PC running Windows, and not just on your review station.

- Verify the review software opens the recordings properly, and that the data is displayed AS RECORDED, including settings, impedances, montages, and all annotations.

- Clearly label each CD, identifying which are normal, focal and generalized and which were selected by ABRET.  Write your hospital/clinic name on the CDs.  All EEGs may be submitted on one CD or DVD.

- Provide additional information/instructions as to how to use your particular reading software, and if there are any nuances to facilitate the process, such as passwords.

Reference: American Clinical Neurophysiology Society Guidelines in Electroencephalography 	(www.acns.org)

3/12