AMERICAN BOARD OF REGISTRATION OF ELECTROENCEPHALOGRAPHIC AND EVOKED POTENTIAL TECHNOLOGISTS

LONG TERM MONITORING

PRACTICE (JOB) ANALYSIS

LONG TERM MONITORING TECHNOLOGY PRACTICE ANALYSIS

This Document represents a delineation of the tasks (T) performed and knowledge (K) applied by technologists performing Long Term Monitoring.  This practice takes place in the context of their unwavering commitment to patient care and safety and their adherence to the highest principles of ethical behavior.

(17 %)	Domain I – Pre-Study Preparation

T-1	Extract relevant patient health information from medical records and 				obtain additional information from patient/caregivers in order to plan 				recording strategies and avoid adverse effects

The safe and effective performance of this task requires knowledge of:

K-1 	Elements of a patient history

K-2	Medical terminology

K-3	Effects of drugs on recordings

K-4	Neurological disorders (e.g. seizures, tumors, vascular disease)

K-5	Psychiatric disorders

K-6	Toxic/metabolic disorders

K-7	Head trauma

K-8	Neuroanatomy and neurophysiology

K-9	Medical contraindications to activation procedures

K-10	Electrographic correlates to clinical entities

K-11	Moderate sedation

K-12	HIPAA Standards

K-13	LTM procedures (e.g., intracranial monitoring, ICU recordings, 					epilepsy monitoring, functional mapping, ambulatory EEG, evoked potentials)

K-50	Imaging and other diagnostic tools (e.g. MRI, LABs, ICP, consultations, vitals)

T-2	Communicate the monitoring plan to patient/caregivers in a manner 				consistent with their ability to understand in order to reassure the patient, 				to establish rapport and to elicit cooperation and expectations.

The safe and effective performance of this task requires knowledge of:

K-13	LTM procedures (e.g., intracranial monitoring, ICU recordings, 					epilepsy monitoring, functional mapping, ambulatory EEG, evoked potentials)

K-14	Age-specific criteria

K-15	Techniques for establishing rapport

K-16	Cognitive limitations

(52 %) Domain II - Performing the Study

T-1	Select appropriate equipment pertinent to the study to be 						performed.

The safe and effective performance of this task requires knowledge of:

K-13	LTM procedures (e.g., intracranial monitoring, ICU recordings, 					epilepsy monitoring, functional mapping, ambulatory EEG, evoked potentials)

K-17	Electrode types

K-18 	Electrical safety protocols

T-2	Securely apply/connect electrodes

The safe and effective performance of this task requires knowledge of:

K-8	Neuroanatomy and neurophysiology

K-15	Techniques for establishing rapport

K-16	Cognitive limitations

K-17	Electrode types

K-19	10-20, 10-10 electrode placement system

K-20	Evoked potentials electrode placement

K-21	Infection control

K-22	Electrode application techniques (e.g. paste, collodion, needle 					electrodes)

K-23	MSDS/OSHA standards

K-48	Head bandaging techniques (securing/providing strain relief)

T-3	Select and/or create montages and recording parameters

The safe and effective performance of this task requires knowledge of:

K-1 	Elements of a patient history

K-8	Neuroanatomy and neurophysiology

K-13	LTM procedures (e.g., intracranial monitoring, ICU recordings, 					epilepsy monitoring, functional mapping, ambulatory EEG, evoked potentials)

K-24	The differential amplifier (e.g., polarity, CMRR, etc.)

K-25	Digital analysis (trending, spike and seizure detection, etc)

K-26	Basic computer knowledge

K-27	Audio-video technology

K-28	Ancillary instrumentation (cortical stimulators, SaO2)

K-50	Imaging and other diagnostic tools (e.g. MRI, LABs, ICP, consultations, vitals)

T-4	Calibrate equipment, check Impedance and troubleshoot equipment to ensure electrode

integrity

The safe and effective performance of this task requires knowledge of:

K-18	Electrical safety protocols

K-24	The differential amplifier (e.g. polarity, CMRR)

K-26	Basic computer knowledge

K-27	Audio-video technology

K-28	Ancillary instrumentation (cortical stimulators, SaO2)

K-29	Troubleshooting techniques

K-30	Digital instrument concepts (e.g. reformatting, sampling 						rate, post acquisition review)

K-31	Long-term monitoring equipment

K-32	ACNS Guidelines

K-44	Basic electronics

T-5	Initiate recording and maintain the integrity of the data and equipment

The safe and effective performance of this task requires knowledge of:

K-1 	Elements of a patient history

K-2	Medical terminology

K-3	Effects of drugs on recordings

K-4	Neurological disorders (e.g. seizures, tumors, vascular disease)

K-5	Psychiatric disorders

K-6	Toxic/metabolic disorders

K-7	Head trauma

K-8	Neuroanatomy and neurophysiology

K-9	Medical contraindications to activation procedures

K-10	Neurophysiologic correlates to clinical entities

K-12	HIPPA Standards

K-13	LTM procedures (e.g., intracranial monitoring, ICU recordings, 					epilepsy monitoring, functional mapping, ambulatory EEG, evoked potentials)

K-16	Cognitive limitations

K-19	10-20, 10-10 electrode placement system

K-20	Evoked potentials electrode placement

K-21	Infection control

K-25	Digital analysis (trending, spike and seizure detection, etc)

K-26	Basic computer knowledge

K-27	Audio-video technology

K-28 	Ancillary instrumentation (cortical stimulators, SaO2)

K-29	Troubleshooting techniques

K-30	Digital instrumentation concepts (e.g. reformatting, sampling rate, 					post-acquisition review)

K-32	ACNS Guidelines

K-33	The differential amplifier (e.g. polarity, CMRR)

K-34	Activation procedures

K-35	Artifact monitoring, identification, and elimination

K-36	Waveform identification

K-37	Effects of instrument settings (e.g. filters, display gain, epoch)

K-38	Localization techniques

K-39	Montage modifications

K-40	National Patient Safety Goals

K-41	Seizure precautions and safety

K-42	Basic ECG knowledge associated with EEG changes

K-50	Imaging and other diagnostic tools (e.g. MRI, LABs, ICP, consultations, vitals)

T-6	Modify or adjust the recording strategy and/or instrument 						parameters based on the technologist’s assessment of data to 					ensure a complete and comprehensive study.

The safe and effective performance of this task requires knowledge of:

K-1 	Elements of a patient history

K-2	Medical terminology

K-3	Effects of drugs on recordings

K-4	Neurological disorders (e.g. seizures, tumors, vascular disease)

K-5	Psychiatric disorders

K-6	Toxic/metabolic disorders

K-7	Head trauma

K-8	Neuroanatomy and neurophysiology

K-9	Medical contraindications to activation procedures

K-10	Neurophysiologic correlates to clinical entities

K-13	LTM procedures (e.g., intracranial monitoring, ICU recordings, 					epilepsy monitoring, functional mapping, ambulatory EEG, evoked potentials)

K-14	Age-specific criteria

K-16	Cognitive limitations

K-17	Electrode types

K-18	Electrical safety protocols

K-19	10-20, 10-10 electrode placement system

K-20	Evoked potentials electrode placement

K-21	Infection control

K-25	Digital analysis (trending, spike and seizure detection, etc)

K-26	Basic computer knowledge

K-27	Audio-video technology

K-28	Ancillary instrumentation (cortical stimulators, SaO2)

K-29	Troubleshooting techniques

K-30	Digital instrumentation concepts (e.g. reformatting, sampling rate, 					post-acquisition review)

K-32	ACNS Guidelines

K-34	Activation procedures

K-35	Artifact monitoring, identification, and elimination

K-36	Waveform identification

K-37	Effects of instrument settings (e.g. filters, display gain, epoch)

K-38	Localization techniques

K-39	Montage modifications

K-41	Seizure precautions and safety

K-42	Basic ECG knowledge associated with EEG changes

K-50	Imaging and other diagnostic tools (e.g. MRI, LABs, ICP, consultations, vitals)

(22 %) Domain III - Post-Study Procedures

T-1 	Analyze and select patient data for physician review

The safe and effective performance of this task requires knowledge of:

K-1	Elements of a patient history

K-3	Effects of drugs on recordings

K-4	Neurological disorders (e.g. seizures, tumors, vascular disease)

K-5	Psychiatric disorders

K-6	Toxic/metabolic disorders

K-7	Head trauma

K-10	Neurophysiologic correlates to clinical entities

K-8	Neuroanatomy and neurophysiology

K-25	Digital analysis (trending, spike and seizure detection, etc)

K-26	Basic computer knowledge

K-27	Audio-video technology

K-28	Ancillary instrumentation (cortical stimulators, SaO2)

K-29	Troubleshooting techniques

K-30	Digital instrumentation concepts (e.g. reformatting, sampling rate, 					post-acquisition review)

K-35	Artifact monitoring, identification, and elimination

K-36	Waveform identification

K-37	Effects of instrument settings (e.g. filters, display gain, epoch)

K-38	Localization techniques

K-39	Montage modifications

K-42	Basic ECG knowledge associated with EEG changes

K-43	Significant patient behaviors and clinical events (e.g., changes in 					level of consciousness, body movements, episodes)

K-44 	Basic electronics

K-45	Data management and storage

K-49	Review data and prepare for interpretation

K-50	Imaging and other diagnostic tools (e.g. MRI, LABs, ICP, consultations, vitals)

T-2	Remove and clean electrode sites, assess scalp and disinfect 					electrodes.

The safe and effective performance of this task requires knowledge of:

K-14 	Age-specific criteria

K-17	Electrode types

K-21	Infection control

K-23	MSDS/OSHA standards

T-3	Ensure that scheduled maintenance of equipment is performed

The safe and effective performance of this task requires knowledge of:

K-12	HIPPA standards

K-25	ACNS Guidelines

K-26	Basic computer knowledge

T-4	Process acquired data

The safe and effective performance of this task requires knowledge of:

K-12	HIPPA Standards

K-25	Digital analysis (trending, spike and seizure detection, etc)

K-26	Basic computer knowledge

K-27	Audio-video technology

K-28	Ancillary instrumentation (cortical stimulators, SaO2)

K-32	ACNS Guidelines

K-44	Basic electronics

K-45	Data management and storage

(9 %) Domain IV - Ethics and Professional Issues

T-1	Conduct practice in a manner consistent with the ABRET Code of Ethics

The safe and effective performance of this task requires knowledge of:

K-46	The ABRET Code of Ethics

T-2	Maintain patient confidentiality

The safe and effective performance of this task requires knowledge of:

K-12	HIPAA standards

K-40	National Patient Safety Goals

K-46	The ABRET Code of Ethics

T-3	Ensure patient safety

The safe and effective performance of this task requires knowledge of:

K-11	Moderate sedation

K-16	Cognitive limitations

K-18	Electrical safety protocols

K-21	Infection control

K-23	MSDS/OSHA standards

K-40	National Patient Safety Goals

K-41	Seizure precautions

K-47	CPR

4/07