ELECTROENCEPHALOGRAPHIC TECHNOLOGY PRACTICE ANALYSIS

This Document represents a delineation of the tasks (T) performed and knowledge (K) applied by electroencephalographic technologists in the practice of their profession in all clinical settings.  This practice takes place in the context of their unwavering commitment to patient care and safety and their adherence to the highest principles of ethical behavior.

Domain I – Pre-Study Procedures

T-1	Obtain patient health information and additional information from medical records and patient/caregivers in order to plan recording strategies and avoid adverse effects

The safe and effective performance of this task requires knowledge of:

K-1 	Elements of a patient history

K-2	Medical terminology

K-3	Effects of medications on patients and recordings

K-4	Neurological Disorders (e.g. seizures, tumors, vascular disease)

K-5	Psychiatric Disorders

K-6	Toxic/metabolic and infectious diseases

K-7	Head trauma

K-8	Neuroanatomy

K-9	Medical contraindications to activation procedures

K-10	Electrographic correlates to clinical entities

K-12	HIPAA standards

K-43	Neuroimaging and other diagnostic procedures

K-44	Allergies and sensitivities (e.g., latex, tape)

T-2	Explain the testing procedure to patient/caregivers in a manner consistent with their ability to understand in order to establish rapport and elicit cooperation.

The safe and effective performance of this task requires knowledge of:

K-13	Components of an EEG procedure

K-14	Age-specific criteria

K-15	Techniques for establishing rapport

K-16	Cognitive limitations

Domain II - Performing the EEG Study

T-1	Prepare the patient

A.  Measure and mark the patient’s head to determine the electrode sites

B.  Prepare the sites for electrode placements in order to reduce impedance

C.  Securely apply the electrodes

D.  Check impedance to ensure electrode integrity

The safe and effective performance of this task requires knowledge of:

K-8	Neuroanatomy

K-14	Age-specific criteria

K-15	Techniques for establishing rapport

K-16	Cognitive limitations

K-17	Electrode placement (i.e., 10-20, T1, T2)

K-18	Metric system

K-19	Infection control

K-20	Conditions affecting impedance

K-21	Electrode application techniques (e.g. paste, collodion, needle electrodes)

K-22	MSDS/OSHA standards

K-23	Characteristics of the differential amplifier (e.g. polarity, CMRR)

K-24	Range of standard impedance values

K-44	Allergies and sensitivities (latex, tape)

T-2	Perform the EEG study according to ACNS Guidelines while ensuring the integrity of the data and equipment

The safe and effective performance of this task requires knowledge of:

K-1 	Elements of a patient history

K-2	Medical terminology

K-3	Effects of medications on patients and recordings

K-4	Neurological Disorders (e.g. seizures, tumors, vascular disease)

K-5	Psychiatric Disorders

K-6	Toxic/metabolic and infectious diseases

K-7	Head trauma

K-8	Neuroanatomy

K-9	Medical contraindications to activation procedures

K-10	Electrographic correlates to clinical entities

K-14	Age-specific criteria

K-16	Cognitive limitations

K-20	Conditions affecting impedance

K-23	Characteristics of the differential amplifier (e.g. polarity, CMRR)

K-25	ACNS Guidelines

K-26	Troubleshooting techniques

K-27	Activation procedures

K-28	Artifact monitoring, identification, and elimination

K-29	EEG patterns

K-30	Effects of instrument settings (e.g. filters, display gain, epoch)

K-33	Digital instrumentation concepts (e.g. reformatting, sampling rate, video, calibration, post-acquisition review)

K-40	Waveform analysis (e.g., frequency, duration, voltage)

T-3	Modify or adjust the recording strategy and/or instrument parameters based on the technologist’s evaluation of recorded data to ensure a complete, comprehensive and technically satisfactory study

The safe and effective performance of this task requires knowledge of:

K-1 	Elements of a patient history

K-2	Medical terminology

K-3	Effects of medications on patients and recordings

K-4	Neurological Disorders (e.g. seizures, tumors, vascular disease)

K-5	Psychiatric Disorders

K-6	Toxic/metabolic and infectious diseases

K-7	Head trauma

K-8	Neuroanatomy

K-9	Medical contraindications to activation procedures

K-10	Electrographic correlates to clinical entities

K-14	Age-specific criteria

K-16	Cognitive limitations

K-17	Electrode placement (i.e., 10-20, T1, T2)

K-20	Conditions affecting impedance

K-23	Characteristics of the differential amplifier (e.g. polarity, CMRR)

K-25	ACNS Guidelines

K-26	Troubleshooting techniques

K-27	Activation procedures

K-28	Artifact monitoring, identification, and elimination

K-29	EEG patterns

K-30	Effects of instrument settings (e.g. filters, display gain, epoch)

K-31	Polarity and localization techniques

K-32	Montage modifications

K-33	Digital instrumentation concepts (e.g. reformatting, sampling rate, video, calibration, post-acquisition review)

K-37	Electrical safety techniques

K-40	Waveform analysis (e.g., frequency, duration, voltage)

T-4         Document patient behavior and clinical events to provide additional information for the interpretation

The safe and effective performance of this task requires knowledge of:

K-34	Significant patient behaviors and clinical events (e.g. changes in level of consciousness, body movements, episodes)

Domain III - Post-Study Procedures

T-1	Remove the electrodes, clean the electrode sites and clean and 			disinfect electrodes and equipment

The safe and effective performance of this task requires knowledge of:

K-19	Infection control

K-22	MSDS/OSHA standards

T-2  	Process acquired data

The safe and effective performance of this task requires knowledge of:

K-12	HIPAA Standards

K-34	Significant patient behaviors and clinical events (e.g. changes in level of consciousness, body movements, episodes)

K-42	Media management (copy, storage, archive, etc.)

T-3	Ensure that scheduled maintenance of equipment is performed

The safe and effective performance of this task requires knowledge of:

K-25	ACNS Guidelines

Domain IV - Ethics and Professional Issues

T-1	Conduct practice in a manner consistent with the ABRET Code of Ethics, professional standards and national regulations

The safe and effective performance of this task requires knowledge of:

K-35	The ABRET Code of Ethics

T-2	Ensure patient safety

The safe and effective performance of this task requires knowledge of:

K-19	Infection control

K-22	MSDS/OSHA standards

K-36	National Patient Safety Goals

K-37	Electrical safety techniques

K-39	Seizure precautions

K-44	Allergies and sensitivities (latex, tape)